## Export Worksheet
LOOP_NAME | INSTRUMENT_NAME | SERVICE_DESCRIPTION | PID_NUMBER | IO_TYPE | SYSTEM | SIGNAL_TYPE_NAME | CABLE_TYPE_NAME | CABLE_NAME | ROUTE_LENGTH | CABLE_GLAND_NAME | CABLE_ID | CABLE_SET_NAME | CABLE_SET_ID | CABLE_SET_SEQ | SIGNAL_LEVEL | FROM_PANEL_TYPE | FROM_PANEL | FROM_TERMINAL_STRIP | FROM_GROUP_SEQ | FROM_TERMINALS | FROM_COLOR_TERMINALS | TO_PANEL_TYPE | TO_PANEL | TO_TERMINAL_STRIP | TO_GROUP_SEQ | TO_TERMINALS | TO_COLOR_TERMINALS | RACK | SLOT | CARD | CHANNEL | CS_TAG | LOOP_DWG_NO | UNIT_NAME
11-71-DP -531P -01 | 11-71-DPIT -531P -01 | CI SKID PUMP DP ACROSS STRAINER AT INLET | P11671-11-71-08-3689 | AI | DCS | 4-20 mA | A10-A_P11671 | 11-71-IA-531P-042 | 30 m | M20C | 3508182 | PR.1 | 3508184 | 1 | 1 | Device Panel | 11-71-DPIT -531P -01 | TS-1 | 1 | +, - | BK, WH | Junction Box | 11-71-JB-IA-531P-08 | TB-1 | 2 | 4, 5 | BK, WH | MB200 | SLOT-1 | AI201 | 02 | 11-71-DPI-531P-01 | P11671-11-71-41-2645_070 | 531P
11-71-DP -531P -01 | 11-71-DPIT -531P -01 | CI SKID PUMP DP ACROSS STRAINER AT INLET | P11671-11-71-08-3689 | AI | DCS | 4-20 mA | A10-A_P11671 | 11-71-IA-531P-042 | 30 m | M20C | 3508182 | PR.1 | 3508184 | 1 | 3 | [5 empty] | Metal | Junction Box | 11-71-JB-IA-531P-08 | TB-1 | 2 | 6 | Metal | MB200 | SLOT-1 | AI201 | 02 | 11-71-DPI-531P-01 | P11671-11-71-41-2645_070 | 531P
11-71-DP -531P -01 | 11-71-DPIT -531P -01 | CI SKID PUMP DP ACROSS STRAINER AT INLET | P11671-11-71-08-3689 | AI | DCS | 4-20 mA | A11-D_P11671 | 11-71-IA-531P-038 | 75 m | M32C | 3510724 | PR.2 | 3510728 | 2 | 1 | Junction Box | 11-71-JB-IA-531P-08 | TB-1 | 3 | 4, 5 | BK, WH | PLC | 11-71-XCP-531P-01 | FTBF04 | 4 | 3, 4 | BK, WH | MB200 | SLOT-1 | AI201 | 02 | 11-71-DPI-531P-01 | P11671-11-71-41-2645_070 | 531P
11-71-DP -531P -01 | 11-71-DPIT -531P -01 | CI SKID PUMP DP ACROSS STRAINER AT INLET | P11671-11-71-08-3689 | AI | DCS | 4-20 mA | A11-D_P11671 | 11-71-IA-531P-038 | 75 m | M32C | 3510724 | PR.2 | 3510728 | 2 | 3 | Junction Box | 11-71-JB-IA-531P-08 | TB-1 | 3 | 6 | Metal | PLC | 11-71-XCP-531P-01 | ISE BAR | 4 |  | Metal | MB200 | SLOT-1 | AI201 | 02 | 11-71-DPI-531P-01 | P11671-11-71-41-2645_070 | 531P
11-71-DP -531P -01 | 11-71-DPIT -531P -01 | CI SKID PUMP DP ACROSS STRAINER AT INLET | P11671-11-71-08-3689 | AI | DCS | 4-20 mA |  | CROSS WIRE | 0 |  | 1999 |  | 1 | 1 | 1 | PLC | 11-71-XCP-531P-01 | FTBF04 | 5 | 3, 4 | , | PLC | 11-71-XCP-531P-01 | BAI1 | 6 | 07 01, 08 02 | , | MB200 | SLOT-1 | AI201 | 02 | 11-71-DPI-531P-01 | P11671-11-71-41-2645_070 | 531P
11-71-DP -531P -01 | 11-71-DPIT -531P -01 | CI SKID PUMP DP ACROSS STRAINER AT INLET | P11671-11-71-08-3689 | AI | DCS | 4-20 mA |  | CROSS WIRE | 0 |  | 1999 |  | 1 | 1 | 4 | PLC | 11-71-XCP-531P-01 | BAI1 | 2 | 08 02, 07 01 | , | PLC | 11-71-XCP-531P-01 | AI201 | 1 | A2, B2 | , | MB200 | SLOT-1 | AI201 | 02 | 11-71-DPI-531P-01 | P11671-11-71-41-2645_070 | 531P

## SQL
WITH CABLE_CORE_DATA AS ( SELECT c.CABLE_ID, c.CABLE_NUM, c.CABLE_LENGTH, c.CABLE_NOTE, c.UNIT_ID, c.ENG_PROJ_ID, cs.CABLE_SET_ID, cs.CABLE_SET_NAME, cs.CABLE_SET_SEQ, w.WIRE_ID, w.WIRE_TAG, COALESCE(lconn.WIRE_GRP_LEVEL, rconn.WIRE_GRP_LEVEL) AS SIGNAL_LEVEL, ROW_NUMBER() OVER ( PARTITION BY cs.CABLE_SET_ID ORDER BY /* First: SPI "level" (blue number in drawings) */ COALESCE(lconn.WIRE_GRP_LEVEL, rconn.WIRE_GRP_LEVEL, w.SET_LEVEL), /* Then: connection sequence within the level (red number in drawings) */ LEAST(NVL(lconn.GROUP_SEQ, 999999), NVL(rconn.GROUP_SEQ, 999999)), GREATEST(NVL(lconn.GROUP_SEQ, 999999), NVL(rconn.GROUP_SEQ, 999999)), /* Then: wire tag/number when present (matches loop drawing behavior better than WIRE_ID) */ CASE WHEN REGEXP_LIKE(TO_CHAR(w.WIRE_TAG), '^[0-9]+$') THEN 0 ELSE 1 END, TO_NUMBER(REGEXP_SUBSTR(TO_CHAR(w.WIRE_TAG), '^[0-9]+')), TO_CHAR(w.WIRE_TAG), /* Final stable tiebreaker */ w.WIRE_ID ) AS WIRE_SEQUENCE, wc.WIRE_COLOR_NAME, wg.GROUP_NAME AS INSTRUMENT_NAME, cmp.CMPNT_ID, cmp.CMPNT_SERV, cmp.SIGNAL_TYPE_ID, cmp.CMPNT_SYS_IO_TYPE_ID, cmp.UDT_SUPPORT_ID1, cmp.UDT_SUPPORT_ID2, cmp.UDT_SUPPORT_ID4, cmp.DWG_ID, cmp.LOOP_ID, cst.CMPNT_SYS_IO_TYPE_NAME, ut.NAME AS SYS_TYPE, COALESCE(pu_cmp.UNIT_NAME, pu.UNIT_NAME) AS UNIT_NAME, u.UOM_CODE, lconn.PANEL_ID AS FROM_PANEL_ID, lconn.STRIP_ID AS FROM_STRIP_ID, lconn.TERM_ID AS FROM_TERM_ID, lconn.GROUP_SEQ AS FROM_GROUP_SEQ, lconn.TERM_SIDE AS FROM_TERM_SIDE, rconn.PANEL_ID AS TO_PANEL_ID, rconn.STRIP_ID AS TO_STRIP_ID, rconn.TERM_ID AS TO_TERM_ID, rconn.GROUP_SEQ AS TO_GROUP_SEQ, rconn.TERM_SIDE AS TO_TERM_SIDE, c.CABLE_TYPE_ID, c.CABLE_COLOR_ID, c.CABLE_GLAND_SIDE1_ID FROM CABLE c JOIN CABLE_SET cs ON cs.CABLE_ID = c.CABLE_ID JOIN WIRE w ON w.CABLE_SET_ID = cs.CABLE_SET_ID LEFT JOIN WIRE_TERMINAL lconn ON lconn.WIRE_ID = w.WIRE_ID AND lconn.CABLE_SIDE = 1 LEFT JOIN WIRE_TERMINAL rconn ON rconn.WIRE_ID = w.WIRE_ID AND rconn.CABLE_SIDE = 2 LEFT JOIN PANEL pnl_from ON pnl_from.PANEL_ID = lconn.PANEL_ID LEFT JOIN PANEL pnl_to ON pnl_to.PANEL_ID = rconn.PANEL_ID LEFT JOIN WIRE_GROUP wg ON wg.WIRE_GROUP_ID = COALESCE(lconn.WIRE_GROUP_ID, rconn.WIRE_GROUP_ID) LEFT JOIN WIRE_COLOR wc ON w.WIRE_COLOR_ID = wc.WIRE_COLOR_ID LEFT JOIN COMPONENT cmp ON cmp.CMPNT_ID = wg.CMPNT_ID LEFT JOIN COMPONENT_SYS_IO_TYPE cst ON cst.CMPNT_SYS_IO_TYPE_ID = cmp.CMPNT_SYS_IO_TYPE_ID LEFT JOIN UDT_SUPPORT1 ut ON ut.UDT_SUPPORT_ID = cmp.UDT_SUPPORT_ID1 LEFT JOIN UNIT_OF_MEASURE u ON c.LENGTH_UOM_ID = u.UOM_ID LEFT JOIN PLANT_AREA_UNIT pu ON c.UNIT_ID = pu.UNIT_ID LEFT JOIN PLANT_AREA_UNIT pu_cmp ON cmp.UNIT_ID = pu_cmp.UNIT_ID LEFT JOIN PLANT_AREA_UNIT pu_from ON pnl_from.UNIT_ID = pu_from.UNIT_ID LEFT JOIN PLANT_AREA_UNIT pu_to ON pnl_to.UNIT_ID = pu_to.UNIT_ID WHERE c.DEF_FLG IN ('N', 'C') AND c.CABLE_NUM <> 'JUMPERS' AND ( :unit_name_like IS NULL OR pu_cmp.UNIT_NAME LIKE :unit_name_like OR ( (c.DEF_FLG = 'C' OR c.CABLE_NUM = 'CROSS WIRE') AND (pu_from.UNIT_NAME LIKE :unit_name_like OR pu_to.UNIT_NAME LIKE :unit_name_like) ) ) AND ( c.DEF_FLG = 'C' OR c.CABLE_NUM = 'CROSS WIRE' OR (TRIM(wg.GROUP_NAME) IS NOT NULL AND TRIM(wg.GROUP_NAME) <> '****') ) ) , IO_ASSIGN AS ( SELECT COALESCE(NULLIF(cst.MASTER_CMPNT_ID, 0), cst.CMPNT_ID) AS CMPNT_KEY, cst.CS_TAG_ID, TO_CHAR(cst.CS_TAG_NAME) AS CS_TAG_NAME, cst.PANEL_ID, cst.STRIP_ID, cst.CHANNEL_ID, ch.CHANNEL_NAME, COALESCE(ap_id.APPAR_NAME, ap_strip.APPAR_NAME) AS APPAR_NAME, rp.RACK_POS_NAME, cr.CABINET_RACK_NAME, ROW_NUMBER() OVER ( PARTITION BY COALESCE(NULLIF(cst.MASTER_CMPNT_ID, 0), cst.CMPNT_ID) ORDER BY CASE WHEN COALESCE( NULLIF(ch.APPAR_ID, 0), NULLIF(ch.PRIMARY_APPAR_ID, 0), NULLIF(ch.SECONDARY_APPAR_ID, 0), NULLIF(ps.APPAR_ID, 0) ) IS NOT NULL THEN 0 ELSE 1 END, CASE WHEN COALESCE(ap_id.APPAR_NAME, ap_strip.APPAR_NAME) IS NOT NULL THEN 0 ELSE 1 END, CASE WHEN cr.CABINET_RACK_NAME IS NOT NULL THEN 0 ELSE 1 END, CASE WHEN rp.RACK_POS_NAME IS NOT NULL THEN 0 ELSE 1 END, cst.CS_TAG_ID ) AS RN FROM CONTROL_SYSTEM_TAG cst LEFT JOIN PANEL_STRIP ps ON cst.PANEL_ID = ps.PANEL_ID AND cst.STRIP_ID = ps.STRIP_ID LEFT JOIN CHANNEL ch ON COALESCE(cst.CHANNEL_ID, ps.CHANNEL_ID) = ch.CHANNEL_ID LEFT JOIN APPARATUS ap_id ON COALESCE( NULLIF(ch.APPAR_ID, 0), NULLIF(ch.PRIMARY_APPAR_ID, 0), NULLIF(ch.SECONDARY_APPAR_ID, 0), NULLIF(ps.APPAR_ID, 0) ) = ap_id.APPAR_ID LEFT JOIN APPARATUS ap_strip ON (ap_id.APPAR_ID IS NULL OR ap_id.APPAR_ID = 0) AND cst.PANEL_ID = ap_strip.PANEL_ID AND cst.STRIP_ID = ap_strip.STRIP_ID LEFT JOIN RACK_POSITION rp ON rp.RACK_POS_ID = COALESCE( NULLIF(ap_id.RACK_POS_ID, 0), NULLIF(ap_id.REMOTE_RACK_POS_ID, 0), NULLIF(ap_id.SEC_REMOTE_RACK_POS_ID, 0), NULLIF(ap_strip.RACK_POS_ID, 0), NULLIF(ap_strip.REMOTE_RACK_POS_ID, 0), NULLIF(ap_strip.SEC_REMOTE_RACK_POS_ID, 0) ) LEFT JOIN CABINET_RACK cr ON cr.RACK_ID = COALESCE( NULLIF(ap_id.RACK_ID, 0), NULLIF(ap_id.REMOTE_RACK_ID, 0), NULLIF(ap_id.SEC_REMOTE_RACK_ID, 0), NULLIF(ap_strip.RACK_ID, 0), NULLIF(ap_strip.REMOTE_RACK_ID, 0), NULLIF(ap_strip.SEC_REMOTE_RACK_ID, 0), NULLIF(ps.RACK_ID, 0), NULLIF(ps.SEC_RACK_ID, 0), NULLIF(rp.RACK_ID, 0) ) ) , LOOP_DWG_PICK AS ( /* Some environments populate LOOP.DWG_ID sparsely; LOOP_DRAWING provides the drawing links. Pick the most recent row per LOOP_ID when available (CHG_DATE desc), otherwise fall back to DWG_ID. */ SELECT ld.LOOP_ID, ld.DWG_ID, ROW_NUMBER() OVER ( PARTITION BY ld.LOOP_ID ORDER BY ld.CHG_DATE DESC NULLS LAST, ld.DWG_ID ) AS RN FROM LOOP_DRAWING ld ) , AGG AS ( SELECT /* ========================= Keys / grouping ========================= */ core.INSTRUMENT_NAME, core.CABLE_ID, core.CABLE_SET_ID, /* ========================= Instrument / loop metadata ========================= */ MAX(core.CMPNT_SERV) AS SERVICE_DESCRIPTION, MAX(core.CMPNT_SYS_IO_TYPE_NAME) AS IO_TYPE, MAX(core.SYS_TYPE) AS SYSTEM, MAX(st.SIGNAL_TYPE_NAME) AS SIGNAL_TYPE_NAME, MAX(l.LOOP_NAME) AS LOOP_NAME, MAX(dwg.DWG_NAME) AS PID_NUMBER, /* ========================= Ordering helpers (drawing alignment) ========================= */ MIN(core.SIGNAL_LEVEL) KEEP ( DENSE_RANK FIRST ORDER BY LEAST(NVL(core.FROM_GROUP_SEQ, 999999), NVL(core.TO_GROUP_SEQ, 999999)), core.WIRE_SEQUENCE ) AS SIGNAL_LEVEL, MIN(LEAST(NVL(core.FROM_GROUP_SEQ, 999999), NVL(core.TO_GROUP_SEQ, 999999))) AS SEGMENT_SEQ, MIN(GREATEST(NVL(core.FROM_GROUP_SEQ, 999999), NVL(core.TO_GROUP_SEQ, 999999))) AS SEGMENT_SEQ_END, MIN(core.WIRE_SEQUENCE) KEEP ( DENSE_RANK FIRST ORDER BY LEAST(NVL(core.FROM_GROUP_SEQ, 999999), NVL(core.TO_GROUP_SEQ, 999999)), core.WIRE_SEQUENCE ) AS FIRST_WIRE_SEQUENCE, MIN(core.FROM_TERM_SIDE) KEEP ( DENSE_RANK FIRST ORDER BY LEAST(NVL(core.FROM_GROUP_SEQ, 999999), NVL(core.TO_GROUP_SEQ, 999999)), core.WIRE_SEQUENCE ) AS FROM_TERM_SIDE, MIN(core.TO_TERM_SIDE) KEEP ( DENSE_RANK FIRST ORDER BY LEAST(NVL(core.FROM_GROUP_SEQ, 999999), NVL(core.TO_GROUP_SEQ, 999999)), core.WIRE_SEQUENCE ) AS TO_TERM_SIDE, /* ========================= FROM side (field / device end) ========================= */ MAX(TO_CHAR(from_pnl_sc.PANEL_SUB_CATEGORY_NAME)) AS FROM_PANEL_TYPE, MAX(TO_CHAR(from_pnl.PANEL_NAME)) AS FROM_PANEL, MAX(TO_CHAR(from_rack.CABINET_RACK_NAME)) AS FROM_RACK, MAX(TO_CHAR(COALESCE(from_slot_id.RACK_POS_NAME, from_slot_seq.RACK_POS_NAME))) AS FROM_SLOT, MAX(TO_CHAR(from_appar.APPAR_NAME)) AS FROM_CARD, MAX( CASE WHEN TRIM(TO_CHAR(from_appar.APPAR_NAME)) IS NOT NULL AND TRIM(TO_CHAR(from_strip.STRIP_NAME)) IS NOT NULL THEN TO_CHAR(from_appar.APPAR_NAME) ¦¦ '/' ¦¦ TO_CHAR(from_strip.STRIP_NAME) ELSE TO_CHAR(from_strip.STRIP_NAME) END ) AS FROM_TERMINAL_STRIP, MAX(TO_CHAR(from_ch.CHANNEL_NAME)) AS FROM_CHANNEL, MIN(core.FROM_GROUP_SEQ) AS FROM_GROUP_SEQ, LISTAGG(TO_CHAR(from_term.TERM_NUM), ', ') WITHIN GROUP ( ORDER BY NVL(core.FROM_GROUP_SEQ, 999999), core.WIRE_SEQUENCE ) AS FROM_TERMINALS, LISTAGG( NVL(core.FROM_GROUP_SEQ, core.WIRE_SEQUENCE) ¦¦ ':' ¦¦ NVL(TO_CHAR(core.WIRE_COLOR_NAME), '') ¦¦ ':' ¦¦ TO_CHAR(from_term.TERM_NUM), ', ' ) WITHIN GROUP ( ORDER BY NVL(core.FROM_GROUP_SEQ, 999999), core.WIRE_SEQUENCE ) AS FROM_CORE_TERMINALS, /* Drawing-friendly: core colors only (drawing order) */ LISTAGG( TO_CHAR(core.WIRE_COLOR_NAME), ', ' ) WITHIN GROUP ( ORDER BY NVL(core.FROM_GROUP_SEQ, 999999), core.WIRE_SEQUENCE ) AS FROM_COLOR_TERMINALS, /* ========================= IO assignment (control system card tree) ========================= */ /* IO assignment (component -> control system tag -> panel strip -> channel -> apparatus -> slot -> rack) */ MAX(TO_CHAR(ioa.CABINET_RACK_NAME)) AS IO_ASSIGN_RACK, MAX(TO_CHAR(ioa.RACK_POS_NAME)) AS IO_ASSIGN_SLOT, MAX(TO_CHAR(ioa.APPAR_NAME)) AS IO_ASSIGN_CARD, MAX(TO_CHAR(ioa.CHANNEL_NAME)) AS IO_ASSIGN_CHANNEL, MAX(TO_CHAR(ioa.CS_TAG_NAME)) AS CS_TAG, /* ========================= Cable properties ========================= */ core.CABLE_NUM AS CABLE_NAME, core.CABLE_SET_NAME, core.CABLE_SET_SEQ, MAX(cable_type.CABLE_TYPE_NAME) AS CABLE_TYPE_NAME, MAX(core.CABLE_LENGTH) ¦¦ ' ' ¦¦ MAX(core.UOM_CODE) AS ROUTE_LENGTH, MAX(cable_gland.CABLE_GLAND_NAME) AS CABLE_GLAND_NAME, /* ========================= TO side (JB / marshalling / PLC/DCS end) ========================= */ MAX(TO_CHAR(to_pnl_sc.PANEL_SUB_CATEGORY_NAME)) AS TO_PANEL_TYPE, MAX(TO_CHAR(to_pnl.PANEL_NAME)) AS TO_PANEL, MAX(TO_CHAR(to_rack.CABINET_RACK_NAME)) AS TO_RACK, MAX(TO_CHAR(COALESCE(to_slot_id.RACK_POS_NAME, to_slot_seq.RACK_POS_NAME))) AS TO_SLOT, MAX(TO_CHAR(to_appar.APPAR_NAME)) AS TO_CARD, LISTAGG( DISTINCT CASE WHEN TRIM(TO_CHAR(to_appar.APPAR_NAME)) IS NOT NULL AND TRIM(TO_CHAR(to_strip.STRIP_NAME)) IS NOT NULL THEN TO_CHAR(to_appar.APPAR_NAME) ¦¦ '/' ¦¦ TO_CHAR(to_strip.STRIP_NAME) ELSE TO_CHAR(to_strip.STRIP_NAME) END, ', ' ) WITHIN GROUP (ORDER BY to_strip.STRIP_NAME) AS TO_TERMINAL_STRIP, MAX(TO_CHAR(to_ch.CHANNEL_NAME)) AS TO_CHANNEL, MIN(core.TO_GROUP_SEQ) AS TO_GROUP_SEQ, LISTAGG(TO_CHAR(to_term.TERM_NUM), ', ') WITHIN GROUP ( ORDER BY NVL(core.TO_GROUP_SEQ, 999999), core.WIRE_SEQUENCE ) AS TO_TERMINALS, LISTAGG( NVL(core.TO_GROUP_SEQ, core.WIRE_SEQUENCE) ¦¦ ':' ¦¦ NVL(TO_CHAR(core.WIRE_COLOR_NAME), '') ¦¦ ':' ¦¦ TO_CHAR(to_term.TERM_NUM), ', ' ) WITHIN GROUP ( ORDER BY NVL(core.TO_GROUP_SEQ, 999999), core.WIRE_SEQUENCE ) AS TO_CORE_TERMINALS, /* Drawing-friendly: core colors only (drawing order) */ LISTAGG( TO_CHAR(core.WIRE_COLOR_NAME), ', ' ) WITHIN GROUP ( ORDER BY NVL(core.TO_GROUP_SEQ, 999999), core.WIRE_SEQUENCE ) AS TO_COLOR_TERMINALS, /* ========================= Misc ========================= */ MAX(TO_CHAR(loop_dwg.DWG_NAME)) AS LOOP_DWG_NO, MAX(core.UNIT_NAME) AS UNIT_NAME FROM CABLE_CORE_DATA core LEFT JOIN PANEL from_pnl ON core.FROM_PANEL_ID = from_pnl.PANEL_ID LEFT JOIN PANEL_SUB_CATEGORY from_pnl_sc ON from_pnl.PANEL_SUB_CATEGORY = from_pnl_sc.PANEL_SUB_CATEGORY_ID LEFT JOIN PANEL_STRIP from_strip ON core.FROM_PANEL_ID = from_strip.PANEL_ID AND core.FROM_STRIP_ID = from_strip.STRIP_ID LEFT JOIN PANEL_STRIP_TERM from_term ON core.FROM_PANEL_ID = from_term.PANEL_ID AND core.FROM_STRIP_ID = from_term.STRIP_ID AND core.FROM_TERM_ID = from_term.TERM_ID LEFT JOIN CHANNEL from_ch ON from_term.CHANNEL_ID = from_ch.CHANNEL_ID LEFT JOIN APPARATUS from_appar ON COALESCE(from_ch.APPAR_ID, from_ch.PRIMARY_APPAR_ID, from_ch.SECONDARY_APPAR_ID, from_strip.APPAR_ID) = from_appar.APPAR_ID LEFT JOIN PANEL_STRIP from_card_strip ON from_appar.PANEL_ID = from_card_strip.PANEL_ID AND from_appar.STRIP_ID = from_card_strip.STRIP_ID LEFT JOIN CABINET_RACK from_rack ON COALESCE(from_appar.RACK_ID, from_card_strip.RACK_ID, from_strip.RACK_ID) = from_rack.RACK_ID LEFT JOIN RACK_POSITION from_slot_id ON from_slot_id.RACK_POS_ID = from_appar.RACK_POS_ID LEFT JOIN RACK_POSITION from_slot_seq ON from_slot_seq.RACK_ID = from_rack.RACK_ID AND from_slot_seq.RACK_POS_SEQ = COALESCE(from_card_strip.POSITION, from_strip.POSITION) /* IO assignment join (pre-resolved from CONTROL_SYSTEM_TAG) */ LEFT JOIN IO_ASSIGN ioa ON ioa.CMPNT_KEY = core.CMPNT_ID AND ioa.RN = 1 LEFT JOIN PANEL to_pnl ON core.TO_PANEL_ID = to_pnl.PANEL_ID LEFT JOIN PANEL_SUB_CATEGORY to_pnl_sc ON to_pnl.PANEL_SUB_CATEGORY = to_pnl_sc.PANEL_SUB_CATEGORY_ID LEFT JOIN PANEL_STRIP to_strip ON core.TO_PANEL_ID = to_strip.PANEL_ID AND core.TO_STRIP_ID = to_strip.STRIP_ID LEFT JOIN PANEL_STRIP_TERM to_term ON core.TO_PANEL_ID = to_term.PANEL_ID AND core.TO_STRIP_ID = to_term.STRIP_ID AND core.TO_TERM_ID = to_term.TERM_ID LEFT JOIN CHANNEL to_ch ON to_term.CHANNEL_ID = to_ch.CHANNEL_ID LEFT JOIN APPARATUS to_appar ON COALESCE(to_ch.APPAR_ID, to_ch.PRIMARY_APPAR_ID, to_ch.SECONDARY_APPAR_ID, to_strip.APPAR_ID) = to_appar.APPAR_ID LEFT JOIN PANEL_STRIP to_card_strip ON to_appar.PANEL_ID = to_card_strip.PANEL_ID AND to_appar.STRIP_ID = to_card_strip.STRIP_ID LEFT JOIN CABINET_RACK to_rack ON COALESCE(to_appar.RACK_ID, to_card_strip.RACK_ID, to_strip.RACK_ID) = to_rack.RACK_ID LEFT JOIN RACK_POSITION to_slot_id ON to_slot_id.RACK_POS_ID = to_appar.RACK_POS_ID LEFT JOIN RACK_POSITION to_slot_seq ON to_slot_seq.RACK_ID = to_rack.RACK_ID AND to_slot_seq.RACK_POS_SEQ = COALESCE(to_card_strip.POSITION, to_strip.POSITION) LEFT JOIN CABLE_TYPE cable_type ON core.CABLE_TYPE_ID = cable_type.CABLE_TYPE_ID LEFT JOIN CABLE_COLOR cable_color ON core.CABLE_COLOR_ID = cable_color.CABLE_COLOR_ID LEFT JOIN CABLE_GLAND cable_gland ON core.CABLE_GLAND_SIDE1_ID = cable_gland.CABLE_GLAND_ID LEFT JOIN DRAWING dwg ON core.DWG_ID = dwg.DWG_ID LEFT JOIN LOOP l ON core.LOOP_ID = l.LOOP_ID LEFT JOIN LOOP_DWG_PICK ldp ON l.LOOP_ID = ldp.LOOP_ID AND ldp.RN = 1 LEFT JOIN DRAWING loop_dwg ON COALESCE(NULLIF(l.DWG_ID, 0), ldp.DWG_ID) = loop_dwg.DWG_ID LEFT JOIN SIGNAL_TYPE st ON core.SIGNAL_TYPE_ID = st.SIGNAL_TYPE_ID LEFT JOIN UDF_COMPONENT uc ON core.CMPNT_ID = uc.CMPNT_ID GROUP BY core.INSTRUMENT_NAME, core.CABLE_ID, core.CABLE_SET_ID, core.CABLE_NUM, core.CABLE_SET_NAME, core.CABLE_SET_SEQ, core.FROM_PANEL_ID, core.FROM_STRIP_ID, core.TO_PANEL_ID, core.TO_STRIP_ID ) SELECT /* ========================= Report columns (keep order stable for Excel consumers) ========================= */ LOOP_NAME, INSTRUMENT_NAME, SERVICE_DESCRIPTION, PID_NUMBER, IO_TYPE, SYSTEM, SIGNAL_TYPE_NAME, CABLE_TYPE_NAME, CABLE_NAME, ROUTE_LENGTH, CABLE_GLAND_NAME, CABLE_ID, CABLE_SET_NAME, CABLE_SET_ID, CABLE_SET_SEQ, SIGNAL_LEVEL, CASE WHEN SWAP_FLG = 1 THEN TO_PANEL_TYPE ELSE FROM_PANEL_TYPE END AS FROM_PANEL_TYPE, CASE WHEN SWAP_FLG = 1 THEN TO_PANEL ELSE FROM_PANEL END AS FROM_PANEL, CASE WHEN SWAP_FLG = 1 THEN TO_TERMINAL_STRIP ELSE FROM_TERMINAL_STRIP END AS FROM_TERMINAL_STRIP, CASE WHEN SWAP_FLG = 1 THEN TO_GROUP_SEQ ELSE FROM_GROUP_SEQ END AS FROM_GROUP_SEQ, CASE WHEN SWAP_FLG = 1 THEN TO_TERMINALS ELSE FROM_TERMINALS END AS FROM_TERMINALS, CASE WHEN SWAP_FLG = 1 THEN TO_COLOR_TERMINALS ELSE FROM_COLOR_TERMINALS END AS FROM_COLOR_TERMINALS, CASE WHEN SWAP_FLG = 1 THEN FROM_PANEL_TYPE ELSE TO_PANEL_TYPE END AS TO_PANEL_TYPE, CASE WHEN SWAP_FLG = 1 THEN FROM_PANEL ELSE TO_PANEL END AS TO_PANEL, CASE WHEN SWAP_FLG = 1 THEN FROM_TERMINAL_STRIP ELSE TO_TERMINAL_STRIP END AS TO_TERMINAL_STRIP, CASE WHEN SWAP_FLG = 1 THEN FROM_GROUP_SEQ ELSE TO_GROUP_SEQ END AS TO_GROUP_SEQ, CASE WHEN SWAP_FLG = 1 THEN FROM_TERMINALS ELSE TO_TERMINALS END AS TO_TERMINALS, CASE WHEN SWAP_FLG = 1 THEN FROM_COLOR_TERMINALS ELSE TO_COLOR_TERMINALS END AS TO_COLOR_TERMINALS, /* System IO connection fields (prefer IO assignment, otherwise fall back to PLC/DCS side when present). */ COALESCE( IO_ASSIGN_RACK, CASE WHEN TO_CHAR(TO_PANEL_TYPE) IN ('PLC', 'DCS') THEN TO_RACK WHEN TO_CHAR(FROM_PANEL_TYPE) IN ('PLC', 'DCS') THEN FROM_RACK ELSE COALESCE(TO_RACK, FROM_RACK) END ) AS RACK, COALESCE( IO_ASSIGN_SLOT, CASE WHEN TO_CHAR(TO_PANEL_TYPE) IN ('PLC', 'DCS') THEN TO_SLOT WHEN TO_CHAR(FROM_PANEL_TYPE) IN ('PLC', 'DCS') THEN FROM_SLOT ELSE COALESCE(TO_SLOT, FROM_SLOT) END ) AS SLOT, COALESCE( IO_ASSIGN_CARD, CASE WHEN TO_CHAR(TO_PANEL_TYPE) IN ('PLC', 'DCS') THEN TO_CARD WHEN TO_CHAR(FROM_PANEL_TYPE) IN ('PLC', 'DCS') THEN FROM_CARD ELSE COALESCE(TO_CARD, FROM_CARD) END ) AS CARD, COALESCE( IO_ASSIGN_CHANNEL, CASE WHEN TO_CHAR(TO_PANEL_TYPE) IN ('PLC', 'DCS') THEN TO_CHANNEL WHEN TO_CHAR(FROM_PANEL_TYPE) IN ('PLC', 'DCS') THEN FROM_CHANNEL ELSE COALESCE(TO_CHANNEL, FROM_CHANNEL) END ) AS CHANNEL, CS_TAG, LOOP_DWG_NO, UNIT_NAME FROM ( SELECT a.*, /* ========================= CROSS WIRE direction normalization: - For CROSS WIRE, `CABLE_SIDE` (1/2) does not reliably match drawing direction. - Normalize so the report shows CROSS WIRE as R -> L when `TERM_SIDE` is available. - If `TERM_SIDE` is missing, fall back to GROUP_SEQ ordering. */ CASE WHEN TRIM(TO_CHAR(a.CABLE_NAME)) = 'CROSS WIRE' AND a.FROM_TERM_SIDE IS NOT NULL AND a.TO_TERM_SIDE IS NOT NULL AND a.FROM_TERM_SIDE = 'L' AND a.TO_TERM_SIDE = 'R' THEN 1 WHEN TRIM(TO_CHAR(a.CABLE_NAME)) = 'CROSS WIRE' AND a.FROM_GROUP_SEQ IS NOT NULL AND a.TO_GROUP_SEQ IS NOT NULL AND a.FROM_GROUP_SEQ > a.TO_GROUP_SEQ THEN 1 ELSE 0 END AS SWAP_FLG, /* ========================= Ordering helpers (keep shield/drain with the cable-set) ========================= */ /* Some aggregated rows may have NULL SIGNAL_LEVEL (e.g., shield/drain cores). For ordering, inherit the cable-set's lowest non-NULL level so those rows stay with the cable. */ MIN(a.SIGNAL_LEVEL) OVER ( PARTITION BY a.LOOP_NAME, a.INSTRUMENT_NAME, a.CABLE_ID, a.CABLE_SET_ID ) AS CABLE_SIGNAL_LEVEL, /* For ordering cable-sets in a drawing-like path, use the best (lowest) non-NULL panel-type rank across all rows in the cable-set (shield/drain rows may have NULL panel fields). */ MIN( CASE WHEN a.FROM_PANEL_TYPE IS NULL THEN NULL WHEN TO_CHAR(a.FROM_PANEL_TYPE) = 'Device Panel' THEN 10 WHEN TO_CHAR(a.FROM_PANEL_TYPE) = 'Junction Box' THEN 20 WHEN TO_CHAR(a.FROM_PANEL_TYPE) IN ('Marshaling Racks', 'Marshalling Racks') THEN 30 WHEN TO_CHAR(a.FROM_PANEL_TYPE) = 'PLC' THEN 40 WHEN TO_CHAR(a.FROM_PANEL_TYPE) = 'DCS' THEN 50 ELSE 999 END ) OVER ( PARTITION BY a.LOOP_NAME, a.INSTRUMENT_NAME, a.CABLE_ID, a.CABLE_SET_ID ) AS CABLE_FROM_PANEL_TYPE_SORT, MIN( CASE WHEN a.TO_PANEL_TYPE IS NULL THEN NULL WHEN TO_CHAR(a.TO_PANEL_TYPE) = 'Device Panel' THEN 10 WHEN TO_CHAR(a.TO_PANEL_TYPE) = 'Junction Box' THEN 20 WHEN TO_CHAR(a.TO_PANEL_TYPE) IN ('Marshaling Racks', 'Marshalling Racks') THEN 30 WHEN TO_CHAR(a.TO_PANEL_TYPE) = 'PLC' THEN 40 WHEN TO_CHAR(a.TO_PANEL_TYPE) = 'DCS' THEN 50 ELSE 999 END ) OVER ( PARTITION BY a.LOOP_NAME, a.INSTRUMENT_NAME, a.CABLE_ID, a.CABLE_SET_ID ) AS CABLE_TO_PANEL_TYPE_SORT FROM AGG a ) x ORDER BY LOOP_NAME, INSTRUMENT_NAME, /* ========================= High-level grouping ========================= */ /* Keep all rows for the same cable-set together by ordering on the cable-set's level first. */ NVL(CABLE_SIGNAL_LEVEL, 999999), /* Then order cable-sets by panel-type path (Field -> JB -> PLC/DCS). */ NVL(CABLE_FROM_PANEL_TYPE_SORT, 999999), NVL(CABLE_TO_PANEL_TYPE_SORT, 999999), CABLE_ID, CABLE_SET_ID, /* ========================= Within cable-set ordering ========================= */ /* Then order rows within the cable-set by the actual row level (NULLs inherit the cable-set level). */ NVL(SIGNAL_LEVEL, NVL(CABLE_SIGNAL_LEVEL, 999999)), /* Within the same cable-set/level, keep CROSS WIRE after normal cables. */ CASE WHEN CABLE_NAME <> 'CROSS WIRE' THEN 0 ELSE 1 END, /* Order segments within a level by GROUP_SEQ */ SEGMENT_SEQ, SEGMENT_SEQ_END, FIRST_WIRE_SEQUENCE, CASE WHEN TO_CHAR(FROM_PANEL_TYPE) = 'Device Panel' THEN 10 WHEN TO_CHAR(FROM_PANEL_TYPE) = 'Junction Box' THEN 20 WHEN TO_CHAR(FROM_PANEL_TYPE) = 'Marshaling Racks' THEN 30 WHEN TO_CHAR(FROM_PANEL_TYPE) = 'Marshalling Racks' THEN 30 WHEN TO_CHAR(FROM_PANEL_TYPE) = 'PLC' THEN 40 WHEN TO_CHAR(FROM_PANEL_TYPE) = 'DCS' THEN 50 ELSE 999 END, CASE WHEN TO_CHAR(TO_PANEL_TYPE) = 'Device Panel' THEN 10 WHEN TO_CHAR(TO_PANEL_TYPE) = 'Junction Box' THEN 20 WHEN TO_CHAR(TO_PANEL_TYPE) = 'Marshaling Racks' THEN 30 WHEN TO_CHAR(TO_PANEL_TYPE) = 'Marshalling Racks' THEN 30 WHEN TO_CHAR(TO_PANEL_TYPE) = 'PLC' THEN 40 WHEN TO_CHAR(TO_PANEL_TYPE) = 'DCS' THEN 50 ELSE 999 END, TO_PANEL, CABLE_SET_SEQ